PERFORMANCE STANDARDS FOR

MALE CIRCUMCISION

FOR HIV PREVENTION

A self-assessment tool

Draft tool

| Name of Facility |  |
| --- | --- |
| Province and District Facility type |  |
| Date of performance assessment |  |
| Assessor’s name |  |

Table of contents

Introduction	6

Instructions for completing the Male Circumcision Quality Standards tool	7

1. Management Systems	9

2. Supplies, Equipment and Environment	12

3. Registration, Group Education and IEC	16

4.  Individual Counseling and HIV testing for MC Clients	18

5. Male Circumcision Surgical Procedure	21

6. Monitoring & Evaluation	27

7. Infection Prevention	28

Achievements of Performance Standards	34

1. Management Systems - Achievements	35

2. Supplies, Equipment and Environment - Achievements	36

3. Registration, Group Education and IEC - Achievements	37

4.  Individual Counseling and HIV testing for MC Clients - Achievements	38

5. Male Circumcision Surgical Procedure - Achievements	39

6. Monitoring & Evaluation - Achievements	40

7. Infection Prevention - Achievements	41

Action Plan Matrix	42

Appendix 1: Detailed reference for proper sterilization and HLD	43

# Introduction

This tool lists the key standards to guide health care providers and their supervisors in how to provide quality safe male circumcision services for HIV prevention.   The tool includes direct clinical care to clients as well as the support functions needed for the provision of counseling services.

Each standard has verification criteria that are easily observable and are to be recorded with options Yes (Y), No (N), or Not Applicable (NA).

The male circumcision standards tool:

- Establishes the desired level of performance objectively and expresses it using standards

- Serves to measure actual performance (during the baseline as well as in the internal monitoring  and external assessment visits)

- Helps identify the gaps between actual and desired performance.

The MC standards tool is organized in 7 areas with a total of 52 standards:

- Area 1:  Management Systems – 11 standards

- Area 2:  Supplies, Equipment and Environment – 6 standards

- Area 3:  Registration, Group Education and IEC – 4 standards

- Area 4:  Individual Counseling and HIV Testing for MC Clients – 6 standards

- Area 5:  Male Circumcision Surgical Procedure – 10 standards

- Area 6:  Monitoring and Evaluation – 3 standards

- Area 7:  Infection prevention – 12 standards

The tool also has:

    - Instructions for completing it.

    - Form to consolidate the results.

# Instructions for completing the Male Circumcision Quality Standards tool

Using the MC Standards tool

Each standard has instructions about the way that information is collected whether observed, interviewed or reviewed records. Collection of information is based upon:

- Direct structured observation of health care providers as they provide MC services

- Review of administrative documents and medical histories/records

- Guided interviews

Completing the MC Standards tool

- Record information collected immediately.

- Write Yes (Y), No (N), or Not Applicable (NA) in the column provided (third column).

- Record all relevant comments, clearly and briefly, trying to highlight the gaps and possible cause. This will g

- uide in the  identification of causes of gaps, and for planning for the appropriate interventions

ALL verification criteria must be completed using Y, N, or NA. DO NOT LEAVE ANY blank items.

- Write Y if the item is performed or meets the description. For instance:

- Observe during the visit whether there is running water in:

- Sinks

- Washbasins/bucket with a tap

- Flush toilets

At the site you are observing, there is running water in the sinks, washbasins/ bucket with a tap, and flush toilet deposits. Therefore, you should write Y for each of these items.

- Write N if the item is not performed or does not meet the description (incorrect or incomplete).  For instance:

- Not performed:

- Does the clinic keep a male circumcision register?

As you are observing, if there is no register, write N for this item.

- Does not meet the description:

- Washes hands with soap and water and dries them with a clean, dry towel.

As you are observing, if the provider washes her/his hands with water but does not use soap, and dries her/his hands on her/his own clothes, you should therefore, write N for this item.

- Item has sub-items and was not performed:

- Takes vital signs:

- Pulse for one whole minute

- Respiration for one whole minute

- Blood pressure

As you are observing, if the provider does not take the vital signs, none of them or one of them, you should therefore write N for each of the sub-item that was not performed.

- Write NA when the item specifies a condition that does not apply to the case you or the level of care you are observing or assessing. For instance:

- If the man is HIV positive.

If the case you are observing involves a man who is HIV negative. Therefore, you should write NA for this item.

Scoring the points and consolidation of results

Providing a standards achievement score:

- To mark a standard as accomplished, all verification criteria must be marked with Y or NA. Even if one verification criteria has an N, the standard cannot be marked accomplished

- Where multiple observations are conducted (ex: some standards are meant to be observed in three clients) give one point for each time the standard was correctly achieved. For example, in the counseling standard, the observation criteria were either Y or NA for two clients, but contained an N for the third client. The provider would score 2 points for  that standard.

How to make the tabulation

- Use the instrument for consolidation, based on the quality male circumcision standards  tool

In the column that synthesizes the gaps and possible causes in the section for consolidation of results:

- If possible, synthesize for each unmet standard the gaps identified based on the items of verification that were not complied with, and the comments provided:

- Practices that are not performed

- Practices that are performed incorrectly or in incomplete fashion.

- Data or information incomplete or nonexistent

- Fill out the results (number of standards and % achieved) in the consolidation of results form.

- Identify possible causes for each verification criteria that was not accomplished

Fill out the Action Plan matrix based on the identified gaps, causes of them and specific interventions to decrease the gaps.

| 1. Management Systems |
| --- |
| STANDARDS | VERIFICATION CRITERIA | RATING YES/NO/NA | COMMENTS |
| Relevant MC Policies, Guidelines and Standards are available and staff are aware of them | Verify the existence of: Copies of key documents in the Unit, available to staff Interview staff and verify that: Patient rights policies/documents Informed consent process guidelines HTC guidelines STI diagnosis and treatment guidelines Supplies and equipment inventory They are aware of the key documents and know where to obtain them for reference | ________ ________ |  |
| The site has an written plan for MC services (minimum 1 year plan) | Verify the existence of an MC plan that incorporates all of the following: Expected client flow / service delivery targets Human resource requirements Projected resource needs (equipment, supplies, commodities) Supervision, monitoring and quality improvement Community involvement Budget | ________ ________ ________ ________ ________ ________ |  |
| 3. The MC clinic is able to meet demand for services | Verify the number of circumcisions performed in the last quarter Client demand numbers are in line with plan projections Waiting list is no longer than one month | ________ ________ ________ |  |
| 4. The MC clinic or facility has clearly defined staff roles and responsibilities | Verify the existence of: : Written roles and responsibilities for all staff involved in male circumcision services Staff are able to describe their roles and responsibilities | ________ ________ |  |
| 5. The MC clinic or facility has the human resources available according to the MC service delivery plan | Verify the existence of: Adequate numbers of staff for each functional area in the plan Registration / intake Counseling / group education Client assessment / surgical procedure Post-procedure counseling Follow-up assessment, management and counseling Staff meet minimum standards Appropriate cadre of staff according to national standards Staff are trained on their specific job functions | ________ _______ _______ _______ _______ _______ _______ _______ | [Please document any bottleneck] |
| 6. Staff receive supportive supervision | Is the competency of MC staff periodically assessed using a standard tool (e.g., these performance standards or the training checklists) Do staff receive individual feedback on their performance at least once per year | ________ ________ |  |
| 7. The client passes through all elements of comprehensive MC service in an efficient manner | Observe client flow from beginning to end of one client to verify whether: Clients are received and directed to the MC registration and intake area Clients receive clear instructions on going from one station to the next Clients move from one area to another without prolonged waiting time (<30 minutes between stations) Client flow is organized to maintain infection prevention standards clients / staff not entering procedure area except for procedure contaminated waste doesn’t cross path with clients and providers A system for facilitating effective referral to linked services is in place Registers reflect appropriate referrals to care and treatment units Client records show clients who have been referred have received the services | ________ ________ ________ ________ ________ ________ ________ |  |
| 8. Monitoring service delivery data are used for planning and improvement of service delivery | Verify the existence of: Is a meeting held at least monthly to review data? Have any changes been made to services based on the feedback of these data | ________ ________ |  |
| 9. Moderate and severe adverse events or complications are reviewed | Are adverse events forms available on site? Are adverse events forms being filled in, filed and stored for management review? A systematic process exists for investigating moderate or severe adverse event to determine causes and outcomes Actions have been taken to prevent future events of this nature or determine if adverse events were handled properly Follow up is conducted as per recommendation 48 hours and 7 days post circumcision | ________ ________ ________ ________ ________ |  |
| 10. The facility / MC clinic has a functional supply and equipment ordering system | Are all MC instruments, medicines and supplies integrated into routine forecasting, procurement and management systems Requisition forms for MC commodities are available and used Minimum stock levels are established for essential MC commodities (at the MC service or facility level) Commodity stocks records are kept up-to-date Facility records stock-outs of key commodities and reports to management | ________ ________ ________ ________ ________ |  |

| 1. Management Systems |
| --- |
| Total standards | 10 |
| Total observed |  |
| Total achieved |  |

| 2. Supplies, Equipment and Environment |
| --- |
| STANDARD | VERIFICATION CRITERIA | RATING YES/NO/NA | COMMENTS |
| 1. The physical facilities are appropriate for MC service provision | Observe: Is there appropriate space for client intake / reception and waiting area Do the consultation/exam and HIV testing rooms provide adequate privacy (auditory and visual) and space? Is there a source of clean running water for hand washing in the examination room, procedure room and post-operative area? Is there a designated room (s) for performing the surgical procedure? Do the theatre/operating rooms have adequate temperature control, ventilation, sufficient lighting and space? Is there an adequate area for performing the surgical scrub? Does the layout of surgical suites allow for effective flow of patients, clinicians, and contaminated instruments/waste? Does the post operative care area have adequate temperature control, sufficient lighting and space? | ________ ________ ________ ________ ________ ________ ________ ________ |  |
| 2. The necessary equipment are available for performing MC surgeries | Do they have an adequate number of prepared MC instrument sets for the expected number of procedures in a day Are the instrument sets complete: Physically verify that the MC instrument set contains all the following instruments, in good working condition: 2 dissecting forceps (1 toothed and 1 non-toothed) artery forceps (2 straight, 4curved) 1 curved Metzenbaum’s scissors 1 stitch scissors 1 Mayo’s needle holder 1 sponge-holding forceps 1 scalpel knife handle 1 “O” drape (80 cm x 80 cm, with ~5 cm hole) 1 sterile drape 1 gallipot for antiseptic solution (e.g. povidone iodine) 1 kidney dish A tray on a stand or trolley OR Male Circumcision Kits | ________ ________ ________ ________ ________ ________ ________ ________ ________ ________ ________ ________ ________ ________ OR ________ |  |
| 3.The necessary commodities are available for performing surgeries | Do they have adequate commodities for the expected number of procedures in a day Physically verify the following supplies: 1% or 2% lignocaine without adrenaline Povidone iodine (10% solution) Plain sterile gauze swabs (10 × 10 cm) Petroleum-jelly-impregnated gauze (5 × 5 cm or 5 × 10 cm) Chlorine (Jik) Strapping Syringes, 2.5ml, 5ml, 10 ml Needles (21or 23-gauge) Surgical blades Suture material (chromic catgut or vicryl rapidae 3-0 and 4-0) Reverse-cutting or round bodied needle Surgical gloves, of appropriate sizes Masks, Caps and Aprons Safety shoes of different sizes Patient gowns Soap or antiseptic hand-rub Sharps containers Waste receptacles for contaminated and non-contaminated waste Properly color coded Bin liners Buckets for decontamination Mackintosh | ________ |  |
| 4. Adequate supplies of medicines and commodities (HIV test kits, condoms) are available for non-surgical aspects of MC service provision | Verify whether minimum stock levels are maintained of the following medications for STI management and management of post-operative infections (whether in the MC clinic or in the pharmacy) Ciprofloxan Lindane 1% lotion or cream Podophylin 25% in tincture iodine Benzathine Pencillin Fluconazole tablet Erythromycin Doxycycline Acyclovir tablets Metronidazole Amoxicillin(tablets) Cotrimoxazole Parecetamol (tablets) All the medications stocked and dispensed within expiration date Medications stored according to temperature and light recommendations Is a medication inventory system in use A minimum stocks of HIV test kits to meet the expected demand for at least 1 day available at the MC counselling site Adequate stocks of condoms for distribution to clients being discharged after MC or returning for post-MC follow-up | ________ ________ ________ ________ ________ |  |
| 5. An emergency resuscitation system exists and medications / supplies are available with immediate access | Are emergency resuscitation protocols readily available in the operating rooms Are emergency resuscitation equipment/supplies and medicines available in the operating room and is in good working order / valid (i.e., not expired) Adrenaline Hydrocortisone Sodium Chloride 50% dextrose Oxygen cylinder Oxygen masks Ambu bag Cannulars IV giving sets Airways Glucometer Stethoscope Sphygmomanometer Pulse oximeter | ________ ________ |  |
| 6. Adequate measures are in place for managing moderate to severe complications and adverse events | Emergency services are available 24 hours to manage clients with complications or adverse events Transport is available to facilitate referrals if they are required | ________ ________ |  |

| 2. Supplies, Equipment and Environment |
| --- |
| Total standards | 6 |
| Total observed |  |
| Total achieved |  |

| 3. Registration, Group Education and IEC |
| --- |
| STANDARD | VERIFICATION CRITERIA | RATING YES/NO/NA | COMMENTS |
|  |  | Client 1 | Client 2 | Client 3 |  |
| 1. The client is correctly recorded in the register and given a client ID | Observe three clients to see whether Does the clinic has register that has (ID, age, HTC, HIV test result, surgical procedure, procedure time, any remark) Clients are correctly entered into the register Assigned client a correct, unique client ID Given a client appointment card with their name and unique ID | ___ ___ ___ ___ | ___ ___ ___ ___ | ___ ___ ___ ___ |  |
| 2. The facility has appropriate information and educational materials on MC and other reproductive health | Observe whether: Clients are provided with printed take home materials on MC Clients’ partners and family are provided with take home printed materials on MC At least one- other sexual and reproductive health materials that provide information and education are available | ______ ______ ______ |  |
| 3. Group education delivered with correct information | Observe during one group education session whether: Appropriate segregation of clients has been done according to adults and children Information and education being given about male circumcision includes the following: Benefits and Risk Surgical procedure Partially protective nature of MC, necessitating maintenance of other HIV prevention strategies Abstinence period of at least 6 weeks post-operation to allow for wound healing No known HIV prevention benefit for HIV+ persons so not recommended for persons already HIV infected | ______ ______ ______ ______ ______ ______ |  |
| 4. Group education delivered with appropriate techniques | Observe during one group education session whether: Provider uses appropriate group education skills Introduces her/himself to the clients Explains purpose of session Uses standardized national MC IEC materials Uses local language and terms that clients understand Confirms at intervals that the clients understand Encourages clients to ask questions Projects voice so all clients can hear Summarizes key points Provider spends 25-35 minutes for group education Most of the clients (2/3) maintained for one session through out | ______ ______ ______ ______ ______ ______ ______ ______ ______ ______ |  |

| 3. Registration, Group Education and IEC |
| --- |
| Total standards | 4 |
| Total points achievable | 6 |
| Total standards observed |  |
| Total points achieved |  |

| 4. Individual Counseling and HIV testing for MC Clients |
| --- |
| STANDARD | VERIFICATION CRITERIA | YES, NO, N/A | COMMENTS |
|  |  | Client 1 | Client 2 | Client 3 |  |
| 1. The counselor provides appropriate individual counseling on MC | Observe during the care of three patients that: Discussion of partial protection about MC against HIV transmission Risks and benefits of MC Necessity of 6 weeks abstinence following MC procedure risk reduction measures such as using condoms, abstinence, and being faithful Complete the identifying and demographic information on the standardized MoH MC Client Record OR Register Complete the MC counseling and risk assessment sections on the standardized MoH MC Client Record OR Register | ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ |  |
| 2. The provider provides routine HIV testing for every client | Observe during the care of three clients if the counselor: Keeps a working time keeping device in the counseling room Provides pre-test information Routinely provides HIV test on opt-out basis Washes hands or uses alcohol handrub solution Puts on gloves Collects blood sample for HIV test Disposes of syringes and needles or lancets in a sharps container Tests blood for HIV using national algorithm Records the HIV test results in the NACP HCT daily register Complete the HIV counseling and testing section on the MC Client Record . | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ |  |
| 3.The provider is properly giving results and post-test counseling | Provides Post test counseling HIV NEGATIVE If the man is HIV negative, counsel on preventing becoming infected by ABC and MC Explain the window period and counsel to retest after 3 months HIV POSITIVE: Counsels on positive living Refers to ART clinic for care and treatment Discusses the importance of self disclosure Discusses ways to prevent HIV transmission to others Suggests offering HIV counseling and testing to family members Clarifies that circumcising has no protective benefit against HIV transmission for someone who is HIV positive, and emphasizes that he is highly infective within the 6 week period post-circumcision Offers the possibility of opting out of the circumcision | ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ |  |
| 4. The provider uses appropriate counseling skills throughout the session | Observe during care of three clients: Provider uses appropriate counseling skills Greets the client with respect and ask them to take their seats (if not seated) Describe his/her role as a counsellor Asks clients if they have any questions they wish to ask about their problems with empathy Tells clients they can stop him/her at any time if they have a question or when they have not understood Asks for and answers any questions or concerns Tells the client that all information provided will be kept confidential Tells client how to contact the health center when needed Thank the client for time and attention if leaving |  |  |  |  |
| 5. All clients receive condoms along with appropriate counseling and instructions on their use | Observe during care of three clients: Are condoms readily available in the MC clinic? Are condoms stored properly? Did provider correctly demonstrate how to use condom? Are condoms provided to MC clients at each visit? | ___ ___ ___ ___ | ___ ___ ___ ___ | ___ ___ ___ ___ |  |
| 6. The provider obtains Informed consent from clients | Observe during the care of three clients whether: The client understands the potential risks and complications of MC before signing the consent form Parents/guardians of the client- if minor- understand the potential risks and complication of MC before signing the consent form The client if minor understands the potential risk and complications of MC and has given assent for circumcision The consent form is signed for each client | ___ ___ ___ ___ | ___ ___ ___ ___ | ___ ___ ___ ___ |  |

| 4. Individual Counseling and HIV testing for MC Clients |
| --- |
| Total of standards | 6 |  |
| Total points achievable | 18 |  |
| Total standards observed |  |  |
| Total points achieved |  |  |

| 5. Male Circumcision Surgical Procedure |
| --- |
| STANDARD | VERIFICATION CRITERIA | YES, NO, N/A | COMMENTS |
|  |  | Client 1 | Client 2 | Client 3 |  |
| PRE-OPERATIVE CARE |
| 1. The provider correctly takes history | Observe during the care of three clients whether the provider obtains the following history: Current general health STI history (current symptoms of STI – dyuria, discharge, pain) Whether the client is taking any medicine Whether the client has any known allergies to medicines Haemophilia, bleeding disorders or anaemia Previous operations and reaction to anaesthesia Whether the client has problems with penile erection or any other concerns about sexual function Complete client history section of MC Client Record | ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ |  |
| 2.The provider correctly performs pre-operation examination | Observe during physical examination whether the provider performs the following: Takes the vital signs (pulse , resp. BP weight) Head to toe examination to determine the general condition, check for anaemia, enlarged lymph nodes, Examines genitalia to rule out anatomical abnormalities, chronic paraphimosis genital ulcer disease, urethral discharge, penile cancer, penile warts, scar tissue at the frenulum and any other abnormalities or other signs of STIs Verifies voluntary consent for the operation If client has a suspected STI: Correct diagnosis is made using syndromic approach Proper treatment prescribed and dispensed for free Partner notification and treatment is encouraged Case documentation is done Complete physical examination section of MC Client Record | ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ |  |
| OPERATIVE CARE |
| 3. The provider prepares the client for surgery | Observe during the care of three clients whether the provider Prepares the necessary equipment Maintains dialogue with the client throughout the procedure Verifies clients details Check for the consent Makes sure client is clean Reassures the client Scrubs and puts on protective clothing Cleans genitalia and surrounding ( from umbilicus to mid-thigh) with povidone 10% or savlon 1:100 | ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ |  |
| 4. The provider administers anesthetic and performs dorsal slit correctly | Drapes the client exposing the genitalia only Administers correct amount of anesthetic (maximum dose of 3mg/kg) at the base of the penis ( at eleven and one o’clock followed by a ring block) Waits for 3-5 min for the anesthetic to work Test for pain sensation using toothed dissecting forcep Manages pain by administering additional anesthetic if necessary throughout the procedure Makes a surgical marking incision at the level of the corona on a relaxed penis Applies straight artery forceps from 3 to 9 o’clock the mark of the incision taking care not to grasp the glans with it Performs a dorsal slit at twelve o’clock up to the incision line Excise foreskin along the marked incision Wrap sterile guaze around the wound and applies pressure for 3-5 min | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ |  |
| 5. The provider achieves haemostasis, sutures the wound and applies the dressing correctly | Exposes the wound bit by bit to identify and clamp the bleeders with the artery forceps and then finally pulls the whole skin to identify and clamp any more bleeders Ligates the bleeders either by transfixing , under-running or simple ligature Checks for additional bleeding points Align the median raphae with the frenulum and applies a horizontal mattress suture Applies a vertical mattress suture at 12 o’clock then 3 o’clock and finally at 9 o’clock Put simple interrupted sutures in between the mattress sutures Applies sterile gauze along the suture line and apply pressure for 2-3 min Cleans the glans and genital area using normal saline if necessary Applies dressing using Vaseline gauze swabs and then applies strapping | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ |  |
| 6. The provider completes the procedure and assists the client to the post-operative area | Straps the penis to the lower abdomen Helps client to get off the operating table Cleans the back of the client at the bottom Escorts patient to the post-operative recovery area Complete Theatre Register Complete the surgical notes section of the MC Client Record If any complications or adverse events were experienced, record on the MC Client Record and the MC Adverse Event Reporting Form | ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ |  |
| POST-OPERATIVE CARE |
| 7. The provider monitors immediate post-op client | Observe during the care of three clients whether the provider Observes the general condition of the client Monitors the vital signs before discharge ( BP, pulse respirations) Checks the surgical dressing for oozing or bleeding Manages post operative pain by reassuring and providing paracetamol to be taken at home | ___ ___ ___ ___ | ___ ___ ___ ___ | ___ ___ ___ ___ |  |
| 8. The provider gives client appropriate post-op care instructions | Gives post-operative instructions to the client: Shows how to remove and reapply strapping before and after urinating Avoid intercourse and masturbation for 6 wks Dressing to be removed 48 hours later provided there is no bleeding or oozing or any other complication Wear clean, loose fitting under wear which should be changed each day Do not wet the dressing for the first 2 days After 2 days wash the genitalia with non-medicated soap and lukewarm water Remember to come for follow-up visit after 2 days, one week and one month To recognize and return in case of any danger signs or signs of complications (excessive bleeding, difficulty in passing urine, excessive pain, swelling, oozing of pus) Rest for two days Reinforce HIV prevention messages Makes sure the client knows where to go if complication arise and have a contact phone number Give next appointment date Gives information on how to manage post operative penile erections Provide the client with condoms | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ |  |
| 9. Client records are updated and completed prior to discharge | Fill in the follow-up visit date and emergency contact number on the client appointment card Complete post-operative notes section of MC Client Record Record any post-operative complications or adverse events on the MC Client Record and Adverse Event Form | ___ ___ ___ | ___ ___ ___ | ___ ___ ___ |  |
| FOLLOW UP VISITS |
| 10. The provider correctly manages initial follow up | Observe during routine follow up care for first follow-up whether the provider: Retrieve and review MC Client Record for background information on the client and the surgical procedure Verify the contact information is still valid If the client has not been tested for HIV in the last 3 months, offer HIV testing and counseling on an opt-out basis Asks the client if they have had any problems or complaints Remove the dressing Examine the operation site to assess healing and ensure that there is no infection Treat any complication found during examination or refer client to higher level Post-operative instructions are reinforced on wound care, potential complications and danger signs, return visits, and abstinence / resumption of sexual activity Review and reinforce HIV prevention messages Ask if the client has other SRH needs or concerns and respond or refer as appropriate Ask the client whether he is satisfied with the service provided or has any comment to make that will help improve the service Complete the follow-up notes section of the MC Client Record Record any complications or adverse events on the MC Client Record and Adverse Event Recording Form Provide the client with condoms | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ | ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ ___ |  |

| 5. Male circumcision surgical procedure |
| --- |
| Total Standards | 10 |
| Total points achievable | 30 |
| Total observed |  |
| Total achieved |  |

| 6. Monitoring & Evaluation |
| --- |
| STANDARD | VERIFICATION CRITERIA | RATING YES/NO/NA | COMMENTS |
| 1. Data are correctly transferred from MC Client Record to the MC Client Counseling, Testing and Follow-up Register | Someone in the MC clinic is responsible for transferring information from the MC Client Record to the MC Client Counseling, Testing and Follow-up Register Data is entered in the MC Client Counseling, Testing and Follow-up Register on a daily basis | ________ ________ |  |
| Client records and complete and correspond with the MC Client Counseling, Testing and Follow-up Register | Select a random sample of 10 client records and verify: All 10 MC Client Records are completely and correctly filled out All relevant elements from the MC Client Records are correctly completed in the MC Client Counseling Testing and Follow-up Register | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  |
|  |  | __ __ | __ __ | __ __ | __ __ | __ __ | __ __ | __ __ | __ __ | __ __ | __ __ |  |
| Data are correctly summarized, reported and filed | Verify: Is the monthly summary form filled in every month? Is a duplicate copy of the summary form filed and stored appropriately for reference? | ________ ________ |  |

| 6. Monitoring & Evaluation |
| --- |
| Total standards | 3 |
| Total points achievable | 12 |
| Total standards observed |  |
| Total points achieved |  |

| 7. Infection Prevention |
| --- |
| STANDARD | VERIFICATION CRITERIA | RATING YES/NO/NA | COMMENTS |
| 1. The concentration and use of antiseptics are according to the standards. | Observe the following: The antiseptic concentration is correct: Povidone 10% Savlon 1:100 Antiseptics are prepared in small, reusable containers for daily use. The reusable containers are thoroughly washed with soap and water, rinsed with clean water and dried before refilling. Reusable containers are labeled with date each time they are refilled. Gauze or cotton wool is not stored in containers with antiseptics. Instruments and other items are not stored in containers with antiseptics. Pick-up forceps are not stored in containers with antiseptics. | ________ ________ ________ ________ ________ ________ ________ |  |
| 2. The process of cleaning rooms between and after procedures is performed according to the standards. | Observe in the procedure room: Housekeeping personnel wear utility gloves and other personal protective equipment during cleaning. All waste is collected and removed from the room in closed leak proof containers. Puncture-resistant sharps containers are closed and removed when ¾ full. Containers with 0.5% chlorine solution with instruments are removed from the room. Soiled linen is removed in closed leak proof containers. Small body fluid spills are contained and cleaned with a disinfectant cleaning solution. Large body fluid spills are flooded with 0.5% chlorine solution, mop up solution, and then clean with detergent and water. All horizontal surfaces that have come in immediate contact with a patient or body fluids are cleaned with lint free cloth soaked in a disinfectant solution. The procedure bed is cleaned, and all surfaces and mattress pads are wiped with a disinfectant-soaked, lint-free cloth. Instrument trolleys are decontaminated with a cloth dampened with 0.5% chlorine solution and rinsed with clean water. Antiseptics are not used as disinfectants (e.g., Hibitane, Savlon, etc). After the room is cleaned, cleaners’ utility gloves are cleaned, removed, and dried and hands are washed. | ________ ________ ________ ________ ________ ________ ________ ________ ________ ________ ________ ________ |  |
| 3. The preparation of a disinfectant cleaning solution is performed according to the standards. | Verify if the disinfectant cleaning solution is prepared as follows: A 0.5% chlorine solution is prepared. Detergent (does not contain an acid, ammonia or ammonium) is added to the 0.5% chlorine solution until a mild soapy cleaning solution is made. | ________ ________ |  |
| 4. The cleaning equipment is decontaminated, cleaned and dried before reuse or storage according to the standards. | Observe if the mops, buckets, brushes and cleaning cloths are: Decontaminated by soaking for 10 minutes in 0.5% chlorine solution or other approved disinfectant, after use. Washed in detergent and water after use Rinsed in clean water. Dried completely before reuse or storage. | ________ ________ ________ ________ |  |
| Instrument processing: Decontamination, Cleaning, Sterilization and High level disinfection (HLD): |
| 5. The decontamination of instruments and other articles (immediately after use and before cleaning) is performed according to the standards. | Observe if: The concentration of chlorine solution is 0.5%: Liquid chlorine: if using JIK (3.5%), 1 part bleach for 6 parts water, or Powder chlorine: if using Calcium hypochlorite (35%), 14 grams bleach powder for 1 liter water A new chlorine solution is prepared at the beginning of each day or sooner as needed. Instruments and other items are soaked in the 0.5% chlorine solution for 10 minutes. After 10 minutes, instruments and other items are removed from the chlorine solution cleaned with soapy water and rinsed with clean water and dried. Chlorine solution should be changed whenever cloudy or after 24 hours. | ________ ________ ________ ________ ________ |  |
| 6. The process of cleaning instruments and other items is performed according to the standards. | Observe if the person cleaning the instruments complies with the following steps and recommendations: Wears appropriate personal protective equipment: Utility gloves Mask and eyewear protection or face shield Plastic apron Covered shoes Utilizes: Soft brush Detergent Running water Scrubs instruments and other items under the surface of water completely removing all blood and other foreign matter Disassembles instruments and other items with multiples parts and clean in the grooves, teeth and joints with a brush Rinses the instruments and other items thoroughly with clean water Allows instruments and other items to air-dry, or dry with a clean towel Washes hands after removing gloves | ________ ________ ________ ________ ________ ________ ________ |  |
| 7. The process of packaging of items to be sterilized is performed according to the standards. | If packaging items to be sterilized through steam sterilization (autoclave): The instruments are clean and dry. Cloth items have been laundered, dried and have no holes. All jointed instruments are opened or in unlocked position. All instruments are disassembled. Instruments are wrapped in the correct material:: Cloth wraps, muslin (140 thread count): double wrapping using two double-thickness wraps (4 layers in all), or Jean cloth (160 thread count): double- thickness per wrapper, or Barrier cloth (272–288 thread count): one thickness but two wraps, or Paper (Kraft or other): double wrapping. It is not reused Packages are not tied tightly. If packaging items to be sterilized through dry-heat: The types of materials used are: Cloth wraps, muslin (140 thread count): double wrapping using two double-thickness wraps (4 layers in all), or Metal containers with lids | ________ ________ |  |
| 8. The process sterilization is performed according to the standards. (see Appendix 1 for a reference with more technical details on proper sterilization procedures) | Observe during the loading process if: The autoclave / dry heat oven is loaded properly Sterilization is done at the proper temperature / pressure / time Time, temperature and pressure gauges are functioning properly Processed items are unloaded properly maintaining sterility The sterilization process is monitored appropriately Any failure noted results in appropriate corrective measures (checking equipment and re-processing instruments) When sterilization is not possible, high-level decontamination is done correctly | ________ ________ ________ ________ ________ ________ ________ |  |
| 9. The storage process of sterile or high-level disinfected items is performed according to the standards. | Observe if: Clean supplies are not stored with sterile or high-level disinfected items. Unwrapped items are used immediately and are not stored. Sterile or high-level disinfected packs and/or containers have expiration dates on them. There is a rotation and an inventory system to control the use of sterile or high-level disinfected items. The packs are free of tears, dampness, excessive dust and gross oil (there is an event-related shelf-life practice, regardless to the expiration date). | ________ ________ ________ ________ ________ |  |
| Health Care Waste Management |
| 10. Waste is disposed of / handled appropriately | Observe in the rooms if: Medical waste (e.g., cotton wool, gauze, etc): Waste is segregated at point of origin into hazardous and non-hazardous waste All medical waste (e.g., gauze, cotton wool, dressing, etc) is disposed in a container with a leak proof bag. Color coding: red (bins and bin liners) for hazardous waste. Sharps: Sharps are placed in a puncture-resistant container (heavy card box, empty plastic container, metal container with small opening). Containers are closed and collected when ¾ full. Sharps containers are not reused Housekeeping personnel wear personal protective equipment when handling medical waste: Utility gloves Gumboots Plastic aprons Medical waste is transported to the interim storage area or for disposal in adequate closed containers: Sharps in puncture-resistant containers (heavy card box, hard plastic or can containers) Sharps containers are not emptied and reused Other medical waste (e.g., used cotton rolls, gauze, dressing, etc.) in leak proof containers General waste is collected from all areas in adequate closed containers and transported to the interim storage area or for disposal Housekeeping personnel perform hand hygiene after handling waste and removing utility gloves: Wash hands with running water and soap for 10–15 seconds and dry with an individual clean towel, paper towel or allows hands to air-dry, or Rub hands with 3–5 ml of an alcohol-based solution until the hands are dry (if hands are not visibly soiled) | ________ ________ ________ ________ ________ ________ ________ ________ ________ |  |
| 11. The system for interim storage is appropriate | Observe if: The interim storage area is not accessible to general staff, patients/clients and visitors. Containers are leak proof and closed with tight lids. There is no waste sticking out of the containers. | ________ ________ ________ |  |
| 12. The facility / MC clinic ultimately disposes of waste properly | Observe if: The final disposal sites are appropriate, whether incinerated, buried, or encapsulated The disposal sites are well secured (fenced) and away from the traffic Well situated ( avoid residential areas) Appropriate personnel to manage the sites. Properly managed (i.e., incinerator is run for right time at right temperature, buried wastes are not left in an open pit uncovered, etc.) | ________ ________ ________ ________ ________ |  |
| 13. Disposable Male Circumcision Kits are disposed properly | Are used Male Circumcision Kits: Decontaminated in 0.5% chlorine solution for 10 minutes before disposal Are one of the below options available to dispose used instruments Burial of instruments in a secure instruments/sharps pits/concrete vaults OR Transporting the instruments to a recycling / smelting facility Specialized encapsulation | _________ _________ _________ _________ |  |

| 7. Infection Prevention |
| --- |
| Total standards | 13 |
| Total observed |  |
| Total achieved |  |

# Achievements of Performance Standards

Facility: ____________________ Service___________ Date: _________Supervisor/Assessor: ____________________

| AREA | # STANDARDS | # POINTS AVAILABLE* | # OBSERVED | ACHIEVED |
| --- | --- | --- | --- | --- |
|  |  |  |  | # | %** |
| 1 | Management Systems | 11 | 11 |  |  |  |
| 2 | Supplies, Equipment and Environment | 6 | 6 |  |  |  |
| 3 | Registration, Group Education and IEC | 4 | 6 |  |  |  |
| 4 | Individual Counseling and HIV Testing for MC Clients | 6 | 18 |  |  |  |
| 5 | Male Circumcision Surgical Procedure | 10 | 30 |  |  |  |
| 6 | Monitoring and Evaluation | 3 | 12 |  |  |  |
| 7 | Infection prevention | 13 | 13 |  |  |  |
| TOTAL OF POINTS AVAILABLE | 96 |  |  |  |

* Some standards have more points, due to making multiple observations for those  standards

** Percent Achieved (%) is # Achieved / # Observed

| 1. Management Systems - Achievements |
| --- |
| STANDARDS | Points | Syntheses: Gaps and Possible Causes |
|  | Possible | Achieved |  |
| 1. Relevant MC Policies, Guidelines and Standards are available and staff are aware of them | 1 |  |  |
| 2. The site has an articulated plan for MC services (minimum 1 year plan) | 1 |  |  |
| 3. The MC clinic is able to meet demand for services | 1 |  |  |
| 4. The MC clinic or facility has clearly defined staff roles and responsibilities | 1 |  |  |
| 5. The MC clinic or facility has the human resources available according to the MC service delivery plan | 1 |  |  |
| 6. Staff receive supportive supervision | 1 |  |  |
| 7. The client passes through all elements of comprehensive MC service in an efficient manner | 1 |  |  |
| 8. Monitoring data are used for planning and improvement of service delivery | 1 |  |  |
| 9. Moderate and severe adverse events or complications are reviewed | 1 |  |  |
| 10. The quality of MC services is reviewed and steps taken to address any gaps identified | 1 |  |  |
| 11. The facility / MC clinic has a functional supply and equipment ordering system | 1 |  |  |

| 2. Supplies, Equipment and Environment - Achievements |
| --- |
| STANDARD | Points | Syntheses: Gaps and Possible Causes |
|  | Possible | Achieved |  |
| 1. The physical facilities are appropriate for MC service provision | 1 |  |  |
| 2. The necessary equipment are available for performing MC surgeries | 1 |  |  |
| 3.The necessary commodities are available for performing surgeries | 1 |  |  |
| 4. Adequate supplies of medicines and commodities (HIV test kits, condoms) are available for non-surgical aspects of MC service provision | 1 |  |  |
| 5. An emergency resuscitation system exists and medications / supplies are available with immediate access | 1 |  |  |
| 6. Adequate measures are in place for managing moderate to severe complications and adverse events | 1 |  |  |

| 3. Registration, Group Education and IEC - Achievements |
| --- |
| STANDARD | Points | Syntheses: Gaps and Possible Causes |
|  | Possible | Achieved |  |
| 1. The client is correctly recorded in the register and given a client ID | 3 |  |  |
| 2. The facility has appropriate information and educational materials on MC and other reproductive health | 1 |  |  |
| 3. Group education delivered with correct information | 1 |  |  |
| 4. Group education delivered with appropriate techniques | 1 |  |  |

| 4. Individual Counseling and HIV testing for MC Clients - Achievements |
| --- |
| STANDARD | Points | Syntheses: Gaps and Possible Causes |
|  | Possible | Achieved |  |
| 1. The provider provides appropriate individual counseling on MC | 3 |  |  |
| 2. The provider provides routine HIV testing for every client | 3 |  |  |
| 3.The provider is properly giving results and post-test counseling | 3 |  |  |
| 4. The provider uses appropriate counseling skills throughout the session | 3 |  |  |
| 5. All clients receive condoms along with appropriate counseling and instructions on their use | 3 |  |  |
| 6. The provider obtains Informed consent from clients | 3 |  |  |

| 5. Male Circumcision Surgical Procedure - Achievements |
| --- |
| STANDARD | Points | Syntheses: Gaps and Possible Causes |
|  | Possible | Achieved |  |
| PRE-OPERATIVE CARE |
| 1. The provider correctly takes history | 3 |  |  |
| 2.The provider correctly performs pre-operation examination | 3 |  |  |
| OPERATIVE CARE |
| 3. The provider prepares the client for surgery | 3 |  |  |
| 4. The provider administers anesthetic and performs dorsal slit correctly | 3 |  |  |
| 5. The provider achieves haemostasis, sutures the wound and applies the dressing correctly | 3 |  |  |
| 6. The provider completes the procedure and assists the client to the post-operative area | 3 |  |  |
| POST-OPERATIVE CARE |
| 7. The provider monitors immediate post-op client | 3 |  |  |
| 8. The provider gives client appropriate post-op care instructions | 3 |  |  |
| 9. Client records are updated and completed prior to discharge | 3 |  |  |
| FOLLOW UP VISITS |
| 10. The provider correctly manages initial follow up | 3 |  |  |

| 6. Monitoring & Evaluation - Achievements |
| --- |
| STANDARDS | Points | Syntheses: Gaps and Possible Causes |
|  | Possible | Achieved |  |
| 1. Data are correctly transferred from MC Client Record to the MC Client Counseling, Testing and Follow-up Register | 1 |  |  |
| 2. Client records and complete and correspond with the MC Client Counseling, Testing and Follow-up Register | 10 |  |  |
| 3. Data are correctly summarized, reported and filed | 1 |  |  |

| 7. Infection Prevention - Achievements |
| --- |
| STANDARD | Points | Syntheses: Gaps and Possible Causes |
|  | Possible | Achieved |  |
| 1. The concentration and use of antiseptics are according to the standards. | 1 |  |  |
| 2. The process of cleaning rooms between and after procedures is performed according to the standards. | 1 |  |  |
| 3. The preparation of a disinfectant cleaning solution is performed according to the standards. | 1 |  |  |
| 4. The cleaning equipment is decontaminated, cleaned and dried before reuse or storage according to the standards. | 1 |  |  |
| Instrument processing: Decontamination, Cleaning, Sterilization and High level disinfection (HLD): |
| 5. The decontamination of instruments and other articles (immediately after use and before cleaning) is performed according to the standards. | 1 |  |  |
| 6. The process of cleaning instruments and other items is performed according to the standards. | 1 |  |  |
| 7. The process of packaging of items to be sterilized is performed according to the standards. | 1 |  |  |
| 8. The process sterilization is performed according to the standards. | 1 |  |  |
| 9. The storage process of sterile or high-level disinfected items is performed according to the standards. | 1 |  |  |
| Health Care Waste Management |
| 10. Waste is disposed of / handled appropriately | 1 |  |  |
| 11. The system for interim storage is appropriate | 1 |  |  |
| 12. The facility / MC clinic ultimately disposes of waste properly | 1 |  |  |
| 13. Disposable Male Circumcision Kits are disposed properly | 1 |  |  |

# Action Plan Matrix

Completed by: _____________________________

Contact number of person who completed action plan _____________________                             Date: ___________________

| Performance Gaps Identified | Intervention Selected to Fill the Gap | Responsible Person or Body | Internal and External Support Needs | Time Line |
| --- | --- | --- | --- | --- |

# Appendix 1: Detailed reference for proper sterilization and HLD

| The process of loading the sterilizer is performed according to the standards. | Observe during the loading process if: If using steam sterilization (autoclave): There is at least 7–8 cm (3 inches) of space between the packages and the walls. Packs (linen, gloves) rest on their edge, in loose contact with each other. Canisters, utensils and treatment trays (if a solid tray) are on their sides. Instrument trays (mesh or perforated bottom only) are placed flat on shelves. Packs are not oversized. Maximum dimensions: 30 x 30 x 50 cm (12 x 12 x 20 inches) or 5 kg (12 pounds). The sterilizer is not overloaded: the packs and containers are not compressed. Gloves are sterilized by themselves and are placed in the upper shelves. AND/OR If using dry-heat sterilization: There is at least 7–8 cm (3 inches) of space between the packages and the walls. The sterilizer is not overloaded: the packs and containers are not compressed. |
| --- | --- |
| The sterilization process is performed according to the standards. | Observe during the sterilizing cycle if the standard conditions listed below are followed: If steam sterilization (autoclave): Correct time Correct temperature Correct pressure All meters for time, temperature and pressure are functioning properly Complete sterilization is checked using markers (e.g., test strips) AND/OR If dry-heat sterilization: Correct time Correct temperature All meters for time, temperature and pressure are functioning properly AND/OR If chemical sterilization: Disassembled instruments are totally immersed in glutaraldehyde (concentration according to manufacturer’s instructions) for 10 hours in a container with lid. There is a label on the container indicating the starting time of sterilization. There is a label on the container indicating the date of reconstitution, and the solution is used within 14 days. After 10 hours, instruments are removed with sterile gloves or forceps and rinsed with sterile water, dried and placed in a sterile container. |
| The process of unloading the sterilizer is performed according to the standards. | Observe during the unloading process: If using steam sterilization (autoclave): The door is open 12–14 cm (5–6 inches) after the sterilizing cycle has been completed, and the chamber pressure gauge reaches “0”. 30 minutes are allowed before unloading the sterilizer, for pack and instruments to dry. If a loading cart is used, the cart is removed from the sterilizer and placed away from open window or fan until it is cool. If no cart is used, packs are laid out on a surface padded with paper or fabric, away from open windows or a fan until they are cool. Unnecessary handling of the packs is avoided. When packs have cooled to room temperature, they are dispensed or placed into a sterile storage area. If using dry-heat sterilization: Packs are laid out on a surface padded with paper or fabric, away from open windows or a fan until they are cool. Packs cool to ambient room temperature before handling. Unnecessary handling of the packs is avoided. |
| There is a system to monitor the effectiveness of the sterilization. | Verify in the charts and record books: Steam sterilization (autoclave): There is a recording chart with time, temperature and pressure for each load. The chart or log is completed and reviewed after each load. Bowie Dick Test AND/OR Dry-heat sterilization: There is a recording chart with time and temperature for each load. The chart or log is completed and reviewed after each load. Correcting sterilization failure: If monitoring indicates a failure in sterilization, the following corrective measures were taken and registered: The equipment is immediately checked to make sure it has been used correctly If the correct use of the unit has been documented and monitoring still indicates a failure, the use of the unit is discontinued and the unit is serviced Any instrument or other item that has been processed in the unit is reprocessed properly |
| The high-level disinfection (HLD) process is performed according to the standards. | Observe during the HLD cycle if the standard conditions listed below are followed: If boiling: Cleaned, disassembled instruments are totally immersed in water. Lid is closed. Instruments are boiled for 20 minutes starting from the time a rolling boil begins. No additional instruments are added after timing begins. After 20 minutes, instruments are removed with high-level disinfected or sterile forceps or gloves, dried and stored in high-level disinfected containers. AND/OR If chemical: Glutaraldehyde (concentration according to manufacturer’s instructions) or 0.1% chlorine solution (prepared with boiled or sterile water): Cleaned, disassembled instruments are immersed in solution for 20 minutes in a container with a lid There is a label on the container indicating the starting time of HLD There is a label on the container indicating the date of reconstitution, and it is within 14 days if using glutaraldehyde or within 24 hours, if using chlorine solution After 20 minutes, instruments are removed with high-level disinfected or sterile forceps or gloves, rinsed with sterile or boiled water, dried and stored in high-level disinfected containers. |